## Sheet1
button | parname | pardescription | partype | paritems | tooltip | initialpardefault
open | mask | Event mask 0xFF | checkbox |  | For certain biosemi recrodings that did not reset the sign bit of task events | 0
open | rename | Rename EOGV/H | checkbox |  | For systems that used EOGH and EOGV for HEoG and VeOG | 0
open | avgref | Data are Avg Ref | checkbox |  | Important for rereferencing after channel removal | 0
open | biosig | Use biosig for BDF | checkbox |  | Use biosig toolbix for reading BDF files | 0
flatline | sd | SD | value | min=0.2,max=10.0,by=0.1 | Remove channels with SD below this value | 1.5
excessive signal | use_z | Use SD z-score | checkbox |  | Remove channels whose SD is an outlier among all channels (z-score above excessive_z) | 1
excessive signal | excessive_z | SD z-score above | value | min=2,max=10,by=.5 | Z-score of the channel SD across channels above which a channel is removed | 5
excessive signal | use_sd | Use SD limit | checkbox |  | Remove channels whose SD exceeds excessive_sd microvolt | 0
excessive signal | excessive_sd | SD above (uV) | value | min=10,max=500,by=5 | Channels with a standard deviation above this many microvolt are removed | 100
excessive signal | use_flatline | Use flatline | checkbox |  | Remove channels that are flat for longer than flatline seconds (clean_rawdata; DISCOVER-EEG: on) | 0
excessive signal | flatline | Flatline (s) | value | min=1,max=60,by=1 | Maximum flat duration in seconds (DISCOVER-EEG: 5) | 5
excessive signal | use_minr | Use correlation | checkbox |  | Remove channels poorly predicted by the other channels (clean_rawdata; DISCOVER-EEG: on) | 0
excessive signal | minr | Min. correlation r | value | min=.1,max=.95,by=.05 | A channel correlating less than this with its reconstruction from the others, for more than maxbadtime, is removed (DISCOVER-EEG: 0.8) | 0.8
excessive signal | use_noise | Use line noise | checkbox |  | Remove channels with excessive line noise (clean_rawdata; DISCOVER-EEG: on) | 0
excessive signal | noise | Line noise (SD) | value | min=1,max=10,by=.5 | Line noise relative to the other channels, in SD, above which a channel is removed (DISCOVER-EEG: 4) | 4
excessive signal | use_drift | Use drift highpass | checkbox |  | High-pass filter the data before the tests (clean_rawdata; DISCOVER-EEG: on). The filter stays applied to the data | 0
excessive signal | drift | Drift transition band (Hz) | dropdown | "0.25-0.75,0.1-0.3,0.5-1,0.75-1.25" | Transition band of the drift highpass (DISCOVER-EEG: 0.25-0.75) | 0.25-0.75
excessive signal | maxbadtime | Max. bad time (prop.) | value | min=.1,max=.8,by=.05 | Proportion of the recording a channel may fail the correlation or line-noise test before removal (DISCOVER-EEG: 0.5) | 0.5
excessive signal | use_ransac | Use RANSAC (PREP) | checkbox |  | Remove channels that their RANSAC prediction does not reproduce: each channel is predicted by spherical splines from random subsets of the other channels (median over the subsets), and a channel is removed when it correlates below the RANSAC r in more than the RANSAC max. bad time of the windows. PREP's bad-channel test (findNoisyChannels). Runs after the tests above, on located channels not named *eog*; PREP expects high-passed data | 0
excessive signal | ransac_r | RANSAC min. correlation r | value | min=.3,max=.95,by=.05 | A window is bad when the channel correlates less than this with its RANSAC prediction (PREP: 0.75) | 0.75
excessive signal | ransac_maxbad | RANSAC max. bad time (prop.) | value | min=.05,max=.9,by=.05 | A channel is removed when it is bad in more than this proportion of the recording (PREP: 0.4) | 0.4
excessive signal | ransac_window | RANSAC window (s) | value | min=1,max=20,by=1 | Length of the non-overlapping windows in which the correlation is computed (PREP: 5) | 5
excessive signal | ransac_draws | RANSAC random subsets | value | min=10,max=200,by=10 | Number of random channel subsets the prediction is the median over (PREP: 50) | 50
excessive signal | ransac_fraction | RANSAC subset fraction | value | min=.1,max=.5,by=.05 | Size of each random subset as a proportion of the channels (PREP: 0.25) | 0.25
lookup | locs | Locs file | dropdown | "Standard,Biosemi 64,Biosemi 128,Biosemi 128 (10/20 names),TDBrain,Brain Products 128,Temple Uni,EGI 128,EGI 128 (10/20 names)" | Convert channel names for some systems and apply provided channel locations | Standard
lookup | addref | Add ref | dropdown | "none,FPz,CPz,Cz" | Add missing reference channel as flatline | none
resample | srate | Sampling rate | dropdown | "64,128,250,256,422,500,512,1000,1024,2048,4096" | Target sampling rate in Hz (DISCOVER-EEG: 250) | 250
resample | method | Method | dropdown | "pop_resample,spline" | Used for non-integer ratios only. pop_resample low-pass filters against aliasing (DISCOVER-EEG). spline interpolates the unfiltered data: faster, but aliases | pop_resample
rereference | refchans | Refernce to | dropdown | "Average,Robust average (PREP),CPz,M1/M2,REST,A1/A2,CSD,TP9/10,P9/10,E56/E57/E100/E107" | Reference of the data. Average: mean over all channels. Robust average (PREP): the mean over channels with the bad channels interpolated first, repeated until the set of bad channels is stable (eeg_robustref), so that one noisy channel does not leak into all the others. The other entries reference to those electrodes | Average
rereference | interpremoved | Include removed channels | checkbox |  | Average only. Interpolates the channels removed earlier (with a location), computes the average over the full montage, then removes them again (DISCOVER-EEG) | 0
rereference | robustiter | Robust: iterations | value | min=1,max=10,by=1 | Maximum number of detect/reference rounds of the robust average reference (PREP: 4) | 4
rereference | robustdev | Robust: deviation z | value | min=0,max=10,by=.5 | A channel whose SD is this many robust z from the median is bad. 0 = off (PREP: 5) | 5
rereference | robustcorr | Robust: min. correlation | value | min=0,max=.9,by=.05 | A channel correlating less than this with every other channel, in more than 1% of the 1 s windows, is bad. 0 = off (PREP: 0.4) | 0.4
rereference | robusthf | Robust: HF noise z | value | min=0,max=10,by=.5 | A channel whose noise above 45 Hz relative to its signal is this many robust z from the median is bad. 0 = off (PREP: 5) | 5
rereference | robustransac | Robust: use RANSAC | checkbox |  | Also use the RANSAC test (as in Bad chans) to find bad channels for the robust average reference (PREP: on) | 1
rereference | robustcorrwin | Robust: correlation window (s) | value | min=.5,max=10,by=.5 | Length of the windows the correlation test uses (PREP: 1) | 1
rereference | robustbadtime | Robust: bad time (prop.) | value | min=.005,max=.5,by=.005 | Proportion of those windows a channel may fail the correlation test before it is bad (PREP: 0.01) | 0.01
rereference | robustransac_r | Robust: RANSAC min. r | value | min=.3,max=.95,by=.05 | A RANSAC window is bad when the channel correlates less than this with its prediction (PREP: 0.75) | 0.75
rereference | robustransac_maxbad | Robust: RANSAC max. bad time | value | min=.05,max=.9,by=.05 | Proportion of the RANSAC windows a channel may fail before it is bad (PREP: 0.4) | 0.4
rereference | robustransac_window | Robust: RANSAC window (s) | value | min=1,max=20,by=1 | Length of the RANSAC windows (PREP: 5) | 5
rereference | robustransac_draws | Robust: RANSAC subsets | value | min=10,max=200,by=10 | Number of random channel subsets the RANSAC prediction is the median over (PREP: 50) | 50
rereference | robustransac_fraction | Robust: RANSAC subset fraction | value | min=.1,max=.5,by=.05 | Size of each random subset as a proportion of the channels (PREP: 0.25) | 0.25
rereference | robustinterp | Robust: keep interpolated | checkbox |  | Leave the bad channels in the data as their interpolation (PREP does this). Off: they keep their own signal minus the reference | 1
filter | low | Lower bound | value | min=0,max=40,by=.5 | High-pass cutoff in Hz. 0 disables the high-pass. 1 Hz is usual before ICA | 1
filter | high | Upper bound | value | min=0,max=200,by=1 | Low-pass cutoff in Hz. 0 disables the low-pass (high-pass only). Keep it below half the sampling rate | 47
filter | type | Type | dropdown | "FIR,Butterworth" | FIR: linear phase windowed sinc (pop_eegfiltnew), sharpness set by the transition bandwidth. Butterworth: zero-phase IIR (filtfilt), order 4, edges at -6 dB | FIR
filter | transition_hp | Highpass transition (Hz) | value | min=.25,max=4,by=.25 | FIR only. Width of the band (Hz) over which the highpass goes from stop to pass, centred on the cutoff. Narrower is sharper but gives a longer filter with more ringing. Capped at the cutoff | 0.5
filter | transition_lp | Lowpass transition (Hz) | value | min=.25,max=10,by=.25 | FIR only. Width of the band (Hz) over which the lowpass goes from pass to stop, centred on the cutoff. Narrower is sharper but gives a longer filter with more ringing. Capped at Nyquist | 2
cleanline | method | Method | dropdown | "eeg_linenoise,CleanLine (fast),CleanLine (plugin)" | eeg_linenoise: one sinusoid of estimated frequency (with drift) per piece, regressed out of all channels at once. CleanLine (fast): CleanLine's own algorithm - a multitaper F-test in 4 s sliding windows, repeated - but with every channel done at once (eeg_cleanlinefast); same result as the plugin, about 6-9x faster. CleanLine (plugin): the EEGLAB plugin itself, the slowest but the reference implementation | CleanLine (fast)
cleanline | linefreq | Line frequency (Hz) | dropdown | "50,60" | Mains frequency (Europe 50, Americas 60). Its 2nd to 4th harmonics below Nyquist are removed too, as in DISCOVER-EEG | 50
cleanline | harmonics | All harmonics | checkbox |  | Remove every multiple of the line frequency below Nyquist instead of only the first four | 0
cleanline | segmentlength | Piece length (s) | value | min=2,max=120,by=1 | eeg_linenoise only: each stretch between boundaries is split into equal pieces of about this many seconds, and the line frequency is estimated per piece, because the mains frequency wanders (HBN: ~0.02 Hz over 20-60 s plus small wiggles). 5 s with the drift fit on follows it best; longer pieces keep more brain signal right at the line frequency | 5
cleanline | drift | Fit frequency drift | checkbox |  | eeg_linenoise only: per piece, fit the line frequency as drifting linearly over the piece (frequency plus drift rate) instead of constant. Never fits worse than a constant frequency; about 4x slower (still well under a second per minute of data) | 1
cleanline | minpeak | Min. peak (dB) | value | min=0,max=20,by=.5 | eeg_linenoise only: a frequency is removed only where its spectral peak stands at least this far above the surrounding 1.5-5 Hz (real mains measured 6-22 dB; no line noise below 2 dB with 32+ channels) | 5
emg | winlen | Window length | value | min=10,max=120,by=10 | Length in seconds of the sliding window that BSS-CCA cleans muscle activity in | 40
emg | winshift | Window shift | value | min=5,max=60,by=5 | Step in seconds between successive AAR windows. Half the window length gives 50% overlap | 20
alt emg | type | Tstat | value | min=1,max=8,by=.5 | A channel is cleaned when its 13-35 Hz power exceeds the interpolated estimate by more than this t-value. Higher = more conservative | 4
alt eog | criterion | Threshold r | value | min=.25,max=.95,by=.05 | Remove an independent component when its correlation with an *EOG* channel reaches this value. Higher = fewer components removed | 0.75
eog | criterion | Threshold % | value | min=.25,max=.95,by=.05 | Remove an independent component when ICLabel calls it "Eye" with at least this probability | 0.5
asr | burstcriterion | Burst criterion | value | min=0,max=40,by=1 | ASR burst criterion in SD. 0 = off. Lower is more aggressive (DISCOVER-EEG: 20 in the bad-segments pass, off in the bad-channels pass) | 9
asr | chanminr | Channel min. r | value | min=0,max=.95,by=.05 | A channel correlating less than this with its reconstruction from the others is removed. 0 = off (DISCOVER-EEG: 0.8 in the bad-channels pass) | 0.6
asr | maxbadtime | Max. bad time (prop.) | value | min=.1,max=.8,by=.05 | Proportion of the recording a channel may fail the correlation or line-noise test before it is removed (clean_rawdata default and DISCOVER-EEG: 0.5) | 0.4
asr | burstdelete | Remove bursts | checkbox |  | Remove bad segments instead of correcting them with ASR (DISCOVER-EEG: on in the bad-segments pass) | 0
asr | burstmergegap | Remove burst merge gap (s) | value | min=0,max=10,by=.5 | After cleaning, remove every stretch of data shorter than this (s) between boundaries, or between a boundary and the start/end of the recording, e.g. left between removed bursts. 0 = off | 0
asr | flatline | Flatline (s) | value | min=0,max=60,by=1 | A channel flat for longer than this many seconds is removed. 0 = off (clean_rawdata default and DISCOVER-EEG: 5) | 5
asr | linenoise | Line noise (SD) | value | min=0,max=10,by=.5 | A channel with more line noise than this many SD above the others is removed. 0 = off (DISCOVER-EEG: 4) | 0
asr | highpass | Drift highpass 0.25-0.75 Hz | checkbox |  | High-pass filter inside clean_rawdata, transition band 0.25-0.75 Hz (DISCOVER-EEG: on). Leave off if you use the Filter step | 0
asr | windowcriterion | Window criterion | value | min=0,max=1,by=.05 | A window is removed when more than this proportion of channels is bad in it. 0 = off (DISCOVER-EEG: 0.25) | 0.25
asr | maxmem | Working memory (GB) | value | min=0,max=16,by=0.5 | Memory clean_rawdata may use. Its own default is 64 MB, which cuts the data into many blocks and makes ASR about 3 times slower; 1 GB or more keeps it in a few blocks. ASR restarts its update grid at every block, so the cleaned data differ slightly between settings - neither is wrong, but a value is reproducible. 0 = leave it to clean_rawdata (its 64 MB; what DISCOVER-EEG gets) | 1
asr | fastasr | Fast ASR (deterministic) | checkbox |  | Use asr_process_fast for the burst step: the same algorithm, but the covariance is computed where it is used instead of smoothing a channels x channels x samples series (12.6 GB for 129 channels and 190 s). Given the same update grid it matches clean_rawdata exactly (correlation 1.000000); it is about 22x faster than the plugin's default and, unlike it, does not depend on how much memory ASR was given. Off: the plugin's own ASR, which DISCOVER-EEG and PREP use | 1
ICA | pca | Initial PCA | value | min=16,max=250,by=1 | Number of principal components ICA is run on. Capped at the number of channels with locations | 50
ICA | extended | Extended Infomax | checkbox |  | Run extended Infomax (Lee, Girolami & Sejnowski 1999): the sign of each component's kurtosis is estimated, so sub-Gaussian sources (line noise, some artefacts) are separated as well. Only runica and binica have it; PICARD and AMICA use their own model and ignore it (Makoto's pipeline: on; DISCOVER-EEG: off) | 1
ICA | use_muscle | Remove Muscle | checkbox |  | Remove components that ICLabel classifies as Muscle with at least the probability set below (DISCOVER-EEG: on, 0.8) | 1
ICA | muscle | Muscle probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Muscle probability for removal, when Remove Muscle is on | 0.5
ICA | use_eye | Remove Eye | checkbox |  | Remove components that ICLabel classifies as Eye with at least the probability set below (DISCOVER-EEG: on, 0.8) | 1
ICA | eye | Eye probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Eye probability for removal, when Remove Eye is on | 0.5
ICA | use_heart | Remove Heart | checkbox |  | Remove components that ICLabel classifies as Heart with at least the probability set below (DISCOVER-EEG: off) | 1
ICA | heart | Heart probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Heart probability for removal, when Remove Heart is on | 0.5
ICA | use_linenoise | Remove Line Noise | checkbox |  | Remove components that ICLabel classifies as Line Noise with at least the probability set below (DISCOVER-EEG: off) | 1
ICA | linenoise | Line Noise probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Line Noise probability for removal, when Remove Line Noise is on | 0.5
ICA | use_channoise | Remove Channel Noise | checkbox |  | Remove components that ICLabel classifies as Channel Noise with at least the probability set below (DISCOVER-EEG: off) | 1
ICA | channoise | Channel Noise probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Channel Noise probability for removal, when Remove Channel Noise is on | 0.5
ICA | use_other | Remove Other | checkbox |  | Remove components that ICLabel classifies as Other with at least the probability set below (DISCOVER-EEG: off) | 0
ICA | other | Other probability | value | min=.4,max=.9,by=.1 | Minimum ICLabel Other probability for removal, when Remove Other is on | 0.5
ICA | repburst | Bad segments: burst (SD) | value | min=5,max=40,by=1 | ASR burst criterion of the clean_rawdata bad-segment pass after component subtraction: picks the most representative run (ICA number above 1) and, with DISCOVER-EEG on, sets the segments removed (DISCOVER-EEG: 20) | 20
ICA | repwindow | Bad segments: window | value | min=0,max=1,by=.05 | Window criterion of that bad-segment pass: fraction of channels allowed to be out of range in a window. 0 = off (DISCOVER-EEG: 0.25) | 0.25
ICA | discovereeg | DISCOVER-EEG: remove bad segments | checkbox |  | On: after the components are subtracted, also remove the bad segments that clean_rawdata finds with the burst and window criteria above (DISCOVER-EEG step 6); with ICA number above 1, those of the kept run. Off: no segments are removed; they are only used to choose the run in case multiple ICA runs were selected. For DISCOVER-EEG, also remove Eye and Muscle ICs at 0.8 (and switch the other classes off). | 0
EMG periods | epochlen | Epoch length (s) | value | min=.5,max=4,by=.5 | Length of the epochs the data are cut into. With the slope test on, 2 s gives steadier slopes than 1 s | 1
EMG periods | overlap | Epoch overlap (prop.) | value | min=0,max=.9,by=.1 | Proportion of overlap between successive epochs | 0
EMG periods | maxbadtime | Max. bad time (prop.) | value | min=.05,max=.8,by=.05 | A channel with muscle activity in more than this proportion of the epochs is removed. While more than this proportion of the recording would still be removed, the noisiest remaining channel that reduces it is removed too | 0.4
EMG periods | mergegap | Merge gap (s) | value | min=0,max=5,by=.5 | Removed periods closer together than this are joined, and any stretch of data shorter than this between removed periods, boundary events or the start/end of the recording is removed too | 1
EMG periods | highpass | highpass (low bound) Hz | value | min=10,max=40,by=5 | Highpass for detecting EMG spectral power | 20
EMG periods | lowpass | lowpass (upper bound) Hz | value | min=30,max=120,by=5 | Lowpass frequency for detecting EMG spectral power | 40
EMG periods | dBcriterion | Use dB test | checkbox |  | Flag an epoch when the interpolated signal has less power in the band than the recorded signal, by more than criterion dB | 1
EMG periods | criterion | Criterion (dB) | value | min=-20,max=0,by=.5 | An epoch has muscle activity in a channel when its interpolated signal has this many dB less power in the band than the recorded signal | -6
EMG periods | doPsdSlope | Use slope test | checkbox |  | Flag an epoch when the spectrum in the band is flat or rising (slope above slopeCriterionAbsolute) AND flatter than its interpolation (slope difference beyond slopeCriterionInterpolationDelta). Combined with the dB test by OR | 0
EMG periods | slopeCriterionAbsolute | Slope above (dB/Hz) | value | min=-2,max=2,by=.05 | Least-squares slope of the recorded spectrum in the band. Clean EEG falls (median about -0.3 dB/Hz at 20-40 Hz); muscle activity flattens it towards 0. Tested: 0 missed a burst whose epochs had slopes of -0.10 and +0.06 | -0.1
EMG periods | slopeCriterionInterpolationDelta | Slope minus interp. (dB/Hz) | value | min=-2,max=2,by=.05 | Recorded slope minus the slope of the interpolated signal. Positive: flag when the recording is flatter by more than this; negative: flag when it is steeper by more than this | 0.5
EMG periods | zP | Use z-score p-value threshold | checkbox |  | Z-score the band power (dB) per channel across all epochs and flag epochs whose one-sided p-value is below the threshold. Uncorrected: the more channels and epochs, the more chance flags | 0
EMG periods | zPvalue | p-value below | value | min=.0001,max=.05,by=.0001 | Flag an epoch in a channel when P(Z >= z) is below this (0.001 is about z = 3.1) | 0.001
EMG periods | zFDR | Use z-score FDR threshold | checkbox |  | Z-score the band power (dB) per channel across all epochs and flag epochs that are significantly high after Benjamini-Hochberg FDR over all channels x epochs. Adapts to how many channels and epochs are tested | 0
EMG periods | zFDRalpha | FDR q | value | min=.001,max=.1,by=.001 | False discovery rate (q) for the z-score FDR threshold | 0.01
flat periods | epochlen | Epoch length (s) | value | min=.05,max=2,by=.05 | Length of the epochs the data are cut into | 0.1
flat periods | overlap | Epoch overlap (prop.) | value | min=0,max=.9,by=.1 | Proportion of overlap between successive epochs | 0.5
flat periods | maxbadtime | Max. bad time (prop.) | value | min=.05,max=.8,by=.05 | A channel that is flat in more than this proportion of the epochs is removed. While more than this proportion of the recording would still be removed, the noisiest remaining channel that reduces it is removed too | 0.3
flat periods | mergegap | Merge gap (s) | value | min=0,max=5,by=.5 | Removed periods closer together than this are joined, and any stretch of data shorter than this between removed periods, boundary events or the start/end of the recording is removed too | 1
flat periods | sd | SD below (uV) | value | min=.05,max=5,by=.05 | An epoch is flat in a channel when its detrended SD is below this | 0.2
excessive periods | epochlen | Epoch length (s) | value | min=.5,max=10,by=.5 | Length of the epochs the data are cut into | 1
excessive periods | overlap | Epoch overlap (prop.) | value | min=0,max=.9,by=.1 | Proportion of overlap between successive epochs | 0.5
excessive periods | maxbadtime | Max. bad time (prop.) | value | min=.05,max=.8,by=.05 | A channel that is excessive in more than this proportion of the epochs is removed. While more than this proportion of the recording would still be removed, the noisiest remaining channel that reduces it is removed too | 0.15
excessive periods | mergegap | Merge gap (s) | value | min=0,max=5,by=.5 | Removed periods closer together than this are joined, and any stretch of data shorter than this between removed periods, boundary events or the start/end of the recording is removed too | 1
excessive periods | alpha | FDR alpha | value | min=.001,max=.1,by=.001 | An epoch is excessive when its SD is unusually high for that channel, at this FDR corrected p | 0.01
excessive periods | maxamp | Max. amplitude (uV) | value | min=50,max=2000,by=50 | An epoch is excessive when the mean-centred signal exceeds this amplitude | 400
interpolation clean | method | Method | dropdown | "Leave-one-out,RANSAC,Autoreject" | Leave-one-out: each channel is compared with its spherical-spline prediction from all other channels. RANSAC: the same tests, with the prediction the median over random channel subsets (as PREP), robust against other bad channels nearby. Autoreject (Jas et al. 2017): per-channel peak-to-peak thresholds learned by cross-validation; bad channels are interpolated within an epoch and epochs with too many bad channels are removed. Autoreject uses Epoch length (no overlap), Merge gap and its folds setting only | Leave-one-out
interpolation clean | epochlen | Epoch length (s) | value | min=.5,max=10,by=.5 | Length of the epochs the data are cut into | 2
interpolation clean | overlap | Epoch overlap (prop.) | value | min=0,max=.9,by=.1 | Proportion of overlap between successive epochs | 0.5
interpolation clean | maxbadtime | Max. bad time (prop.) | value | min=.05,max=.8,by=.05 | A channel that differs from its interpolation in more than this proportion of the epochs is removed. While more than this proportion of the recording would still be removed, the noisiest remaining channel that reduces it is removed too | 0.3
interpolation clean | mergegap | Merge gap (s) | value | min=0,max=5,by=.5 | Removed periods closer together than this are joined, and any stretch of data shorter than this between removed periods, boundary events or the start/end of the recording is removed too | 0
interpolation clean | sdcrit | SD of difference | value | min=2,max=30,by=1 | An epoch is bad when the SD of recorded minus interpolated signal exceeds this many times the median | 10
interpolation clean | rcrit | Min. correlation r | value | min=-1,max=.9,by=.05 | An epoch is bad when the recorded and interpolated signal correlate below this | 0
interpolation clean | ransac_draws | RANSAC random subsets | value | min=10,max=200,by=10 | Only with Prediction RANSAC: number of random channel subsets the prediction is the median over (PREP: 50) | 50
interpolation clean | ransac_fraction | RANSAC subset fraction | value | min=.1,max=.5,by=.05 | Only with Prediction RANSAC: size of each random subset as a proportion of the channels (PREP: 0.25) | 0.25
interpolation clean | ar_folds | Autoreject folds | value | min=3,max=20,by=1 | Only with Method Autoreject: number of cross-validation folds used to learn the thresholds and the number of channels to interpolate or the share of bad channels that drops an epoch (autoreject: 10) | 10
task periods | before | Seconds before event | value | min=0,max=60,by=.5 | Start of a task period, in seconds before each event. Asked when you press Remove task or Remove no-task; batch uses the last answer | 2
task periods | after | Seconds after event | value | min=0,max=600,by=.5 | End of a task period, in seconds after each event. Asked when you press Remove task or Remove no-task; batch uses the last answer | 2